## 1-D model
For estimating drawdown in conf or unconf aquifers at long-term time frame
Subject to all the usual pumping test assumptions
Analytical Model Drawdown (in feet)
Enter data in yellow cells
Pump Rates (ft3/d)
| 2398961 | High demand
| 341618 | Medium demand
| 13598 | Low demand
Confined:
When u of the Theis equation is very small (t is very large), the equation can be truncated after the first two terms. This yields Jacob's equation.
Fetter 1988 p. 170
| Q (FT3/d) |  | K(FT/d) |  | b (FT) |  | T (FT2/day) |  | t (day) |  | S or Sy
| 341618 |  | 1.2 |  | 1200 |  | 1440 |  | 7305 |  | 0.0424
r (FT) ---
| 5 | 10 | 50 | 100 | 500 | 1000 | 5000 | 10000 | 25000 | 50000
r (miles) ---
| 0.00094697 | 0.0018939 | 0.0094697 | 0.018939 | 0.094697 | 0.18939 | 0.94697 | 1.8939 | 4.7348 | 9.4697
dd (FT) at above distances ---
| 319.254 | 293.0989 | 232.3687 | 206.2136 | 145.4834 | 119.3283 | 58.598 | 32.443 | -2.1322 | -28.2873
u (u = r2S/4Tt. When u<0.01, can neglect all but first 2 terms of Theis. For most applications, u can be up to 0.1. Halford and Kuniansky 2002)
| 2.5192e-08 | 1.0077e-07 | 2.5192e-06 | 1.0077e-05 | 0.00025192 | 0.0010077 | 0.025192 | 0.10077 | 0.6298 | 2.5192
Unconfined:
Late-time drawdown data can match the Theis type curve, and the Theis equation may be used for T and Sy.
If the drawdown is large compared to the original saturated thickness, then use Jacob's correction.
Kruseman, G.P. and DeRidder, N.A., 2000, Analysis and Evaluation of Pumping Test Data: International Institute
for Land Reclamation and Improvement, ILRI Publication Series No. 47, 2nd edition.
SENSITITY RESULTS for MEDIUM demand case
UVF new params in draft SEZ model report
Base Case:
UVF av K = 12 ft/d | 36.2697 | 33.6542 | 27.5811 | 24.9656 | 18.8926 | 16.2771 | 10.2041 | 7.5886 | 4.131 | 1.5155 | Best Estimate, Medium demand
av Sy = 0.0424
assumed b=1200 ft
Sensitivity Runs:
K or b increased 50% | 24.6898 | 22.9461 | 18.8974 | 17.1537 | 13.1051 | 11.3614 | 7.3127 | 5.569 | 3.264 | 1.5204
K or b decreased 50% | 69.9238 | 64.6928 | 52.5468 | 47.3157 | 35.1697 | 29.9387 | 17.7926 | 12.5616 | 5.6466 | 0.41557
Sy increased 50% | 34.9619 | 32.3464 | 26.2734 | 23.6579 | 17.5848 | 14.9693 | 8.8963 | 6.2808 | 2.8233 | 0.20778
Sy decreased 50% | 37.5774 | 34.9619 | 28.8889 | 26.2734 | 20.2004 | 17.5848 | 11.5118 | 8.8963 | 5.4388 | 2.8233
K increased by 10x | 4.0614 | 3.7998 | 3.1925 | 2.931 | 2.3237 | 2.0621 | 1.4548 | 1.1933 | 0.84753 | 0.58598
K decreased by 10x | dd too gigantic, unrealistic if well is screened in an aquifer
Sy = 0.2 | 33.3431 | 30.7276 | 24.6546 | 22.0391 | 15.966 | 13.3505 | 7.2775 | 4.662 | 1.2045